THE OCEANSOUND
REMODELING PROCEDURES

The following procedures apply to any type of remodeling work done in the units.

· Remodeling working hours – 9:00 AM to 4:30 PM only

· Letter of approval needs to be picked up from our office and taken to the village in order to obtain a permit
· Estimated time of remodeling completion

· Must notify office seven (7) days in advance of work that is being performed in order to notify all units

· Must notify office two (2) days in advance of request for plastic carpet protection for the hallway (Plastic must be put down before any work is done)

· Unit resident must be notified of the $50.00 payment that should be issued prior to plastic carpet installation, or work cannot be performed under any circumstances.

· Need a copy of Workman’s Compensation
· Need a copy of Liability Insurance
· All tile or wood floors must have soundproofing installed

· Do not touch any common area pipes (the main pipes) or load bearing walls or beams

· Do not notch/channel any ceilings or floors (this is a post tension building)

· If kitchen ceiling needs to be lifted, a licensed sprinkler company needs to be called in order to work the sprinkler system

· You must cover Smoke Detector with plastic while working in units.  Be sure to remove plastic once work is complete
· Maintenance is authorized to enter unit to inspect work at all times during the renovation of the unit

· Need to provide a detailed list of work being done every time there is a walkthrough with maintenance.
NOTE: ANY WORK PERFORMED IS NOT TO INVOLVE ANY CHANGES IN THE AIR CONDITIONING RISERS, MAIN COMMON AREA WATER, SEWAGE PIPING OR LOAD BEARING WALLS.

